## Sheet1
DALLAS WATER UTILITIES
WATER AND WASTEWATER MAIN REPLACEMENTS AT VARIOUS LOCATIONS
CONTRACT NO. 21-049/ 21-050
TIME OF COMPLETION AS PER SPECIAL PROVISION S-6
BIDDER'S PROPOSAL FORM SUBMITTALS:
1 | Bidder to complete yellow cells.
2 | Upload completed Proposal to Bonfire in Project Folder.
REVISED BY ADDENDUM NO. 1
CONTRACTOR'S NAME (Below)
UNIT PRICE
BID ITEM | ITEM DESCRIPTION | UNIT | QUANITY | Unit Price | Total Amount | Dollars and Cents (Typed Out)
1100F | 4" Temporary Water Main | LF | 3500 | 0 | 0
1200D | 2" Cooper Water Main | LF | 50 | 0 | 0
1800F | 4" PVC Water Pipe | LF | 100 | 0 | 0
1800H | 6" PVC Water Pipe | LF | 800 | 0 | 0
1800J | 8" PVC Water Pipe | LF | 20200 | 0 | 0
1800K | 10" PVC Water Pipe | LF | 110 | 0 | 0
1800L | 12" PVC Water Pipe | LF | 200 | 0 | 0
1800Q | 16" PVC Water Pipe | LF | 1930 | 0 | 0
3100R | 18" PVC Wastewater Pipe | LF | 1820 | 0 | 0
3100U | 21" PVC Wastewater Pipe | LF | 4090 | 0 | 0
3110J | 8" PVC Pressure Rated Wastewater Pipe | LF | 13420 | 0 | 0
3110K | 10" PVC Pressure Rated Wastewater Pipe | LF | 740 | 0 | 0
3110L | 12" PVC Pressure Rated Wastewater Pipe | LF | 560 | 0 | 0
3120Q | 16" PVC Pressure Rated Wastewater Pipe | LF | 3700 | 0 | 0
3120Y | 30" PVC Pressure Rated Wastewater Pipe | LF | 1900 | 0 | 0
3560 | Connection to Existing Manhole | EA | 1 | 0 | 0
5020 | Extra Iron Fittings | TN | 60 | 0 | 0
5050 | Water Service | EA | 550 | 0 | 0
5091 | Install Fire Hydrant | EA | 32 | 0 | 0
5092 | Remove Existing Fire Hydrant | EA | 24 | 0 | 0
5093 | Deliver Fire Hydrant | EA | 24 | 0 | 0
5100F | 4" Gate Valve | EA | 2 | 0 | 0
5100H | 6" Gate Valve | EA | 32 | 0 | 0
5100J | 8" Gate Valve | EA | 101 | 0 | 0
5100L | 12" Gate Valve | EA | 5 | 0 | 0
5100Q | 16" Gate Valve | EA | 3 | 0 | 0
5110LxJ | 12 X 8" Tapping Sleeve | EA | 1 | 0 | 0
5510J | Highway Crossing for 8" Water Main (BOTOC) | LF | 70 | 0 | 0
5560J | 8" Water Main Crossing (By Open Cut) | LF | 140 | 0 | 0
5600 | Cut & Plug Existing Water Main | EA | 32 | 0 | 0
5610 | Cut & Plug Water Main For Test | EA | 27 | 0 | 0
5650 | Removal of Lead Pipe Joints | EA | 2 | 0 | 0
5750B | 1" Flush Point | EA | 5 | 0 | 0
5750D | 2" Flush Point | EA | 3 | 0 | 0
5990J | 8" Wastewater Main (BOTOC) | LF | 320 | 0 | 0
5990K | 10" Wastewater Main (BOTOC) | LF | 372 | 0 | 0
6050Q | 16" Wastewater Main Crossing (By Open Cut) | LF | 22 | 0 | 0
6060 | Wastewater Lateral | EA | 391 | 0 | 0
6100 | Wastewater Access Device | EA | 11 | 0 | 0
6110AE | 48" Drop Manhole | EA | 10 | 0 | 0
6130AE | 48" Diameter Wastewater Manhole | EA | 66 | 0 | 0
6130AG | 60" Diameter Wastewater Manhole | EA | 10 | 0 | 0
6130AJ | 72" Diameter Wastewater Manhole | EA | 14 | 0 | 0
6140 | Abandon Existing Manhole | EA | 2 | 0 | 0
6141 | Vacuum Test for Wastewater Manhole | EA | 100 | 0 | 0
6245D | 2" Diameter Tree | EA | 10 | 0 | 0
6245F | 4" Diameter Tree | EA | 10 | 0 | 0
6255 | Tree Removal | EA | 230 | 0 | 0
6270 | Fence Replacement | LF | 200 | 0 | 0
6800 | Project Partnering | LS | 1 | 0 | 0
6902 | Place Block Sod | SY | 7600 | 0 | 0
6911 | Corsol/Brick Intersection Pavers | SY | 840 | 0 | 0
6920 | Television Inspection | LF | 26220 | 0 | 0
6925 | Trench Safety & Support | LF | 49430 | 0 | 0
7030 | Rock Foundation | CY | 700 | 0 | 0
7040 | Stabilized Backfill | CY | 1000 | 0 | 0
7041 | Flowable Backfill | CY | 1500 | 0 | 0
7044 | Four "F" Flowable Base - Hi Strength, Fast Set | CY | 3000 | 0 | 0
7050 | Sand Backfill | CY | 2800 | 0 | 0
7052 | Cement Treated Backfill | CY | 100 | 0 | 0
7053 | Cement Stabilized Sand Backfill | CY | 110 | 0 | 0
7071 | Class B Concrete | CY | 350 | 0 | 0
7520 | Temporary Paving (Hot Mix or High Performance) | TN | 2370 | 0 | 0
7525 | Flex Base (Crushed Rock) Alley Surface | CY | 100 | 0 | 0
7530 | Concrete Curb & Gutter | LF | 1770 | 0 | 0
7560 | Crushed Rock For Temporary Paving Base | CY | 3200 | 0 | 0
7570 | Reinforced Concrete Paving | CY | 5600 | 0 | 0
7575 | Type 3K-2 Reinforced Concrete Paving | CY | 250 | 0 | 0
7580 | Reinforced Concrete Sidewalk | SY | 300 | 0 | 0
7583 | Reinforced Concrete Driveway | SY | 1000 | 0 | 0
7584 | Slurry Seal Surface Treatment | SY | 1000 | 0 | 0
7585 | Barrier Free Ramp | EA | 3 | 0 | 0
7600 | Reinforced Concrete Base | CY | 4250 | 0 | 0
7655 | Hot Mix Asphalt Concrete Paving | TN | 2900 | 0 | 0
7712 | Stormwater Pollution Prevention Plan | LS | 1 | 0 | 0
7730 | Disposal Of Heavily Chlorinated Water Main Flushing Water | LS | 1 | 0 | 0
8011 | Construction Surveying and Staking of Proposed Water & Wastewater Mains | LF | 49430 | 0 | 0
8012 | Construction Surveying and Staking of Proposed Street and Alley Paving | LF | 7080 | 0 | 0
8300 | Removal of Existing Railroad Tracks | EA | 3 | 0 | 0
20500 | Investigation | EA | 100 | 0 | 0
300200T | Remove Old 36" Pipe (CIP) | LF | 1170 | 0 | 0
300210T | Demolish Aerial Crossing | LS | 1 | 0 | 0
300211T | Remove and Replace RCP Storm Drain (Up to 24") | LF | 100 | 0 | 0
300212T | Remove and Replace RCP Storm Drain (27" And Larger) | LF | 140 | 0 | 0
| TOTAL AMOUNT OF BID |  |  |  | 0
TOTAL AMOUNT OF BID TYPED OUT