## Labor+Materials
|  |  | Totals |  | FILL IN YELLOW CELLS |  | FILL IN YELLOW CELLS |  |  | FILL IN YELLOW CELLS
City Of Austin |  | Stage 1- Switchgear Building | 0
Ullrich WTP Electric Feed Renewal Project |  | Stage 2-Existing PAC Building | 0
Pricing Sheet |  | Stage 3 -Duct Banks From SUB4 to Existing LSPS | 0
2021-06-25 |  | Stage 4 - Part 1 Existing LSPS | 0
|  | Stage 5 Part 2 Existing LSPS | 0
|  | Stage 6- Part 3 Esisting LSPS | 0
|  | Misc. | 0
ID | Description | Stage | Bid Measure | UOM ($/UOM) | Material Cost | UOM ($/UOM) | Firm Labor Price | UOM ($/UOM) | TOTAL PRICE | Estimated Manhours | MH
A. | Switchgear Building-Civil | 1 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Install DuctBank Mark 14 (DBP-CC/MH1A&B) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
2 | Install DuctBank Mark 13 (DBP-EC4/MH1B-2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
3 | Install DuctBank Mark 22 (DBP-EC4/MH1B-1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
4 | Install DuctBank Mark 17 (DBP-EC3/MH1A-2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
5 | Install DuctBank Mark 3 (DBP-EC3/MH1A-1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
6 | Install DuctBank Mark 5 (DBP-EC4/STUBOUT) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
7 | Install DuctBank Mark 6 (DBP-CC/STUBOUT) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
8 | Install DuctBank Mark 9 (DBP-EC4/XFMR4-1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
9 | Install DuctBank Mark 12 (DBP-EC4/XFMR4-2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
10 | Install DuctBank Mark 18 (DBP-EC4/XFMR2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
11 | Install DuctBank Mark 8 (DBP-EC3/XFMR3-1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
12 | Install DuctBank Mark 4 (DBP-EC2/XFMR1&3) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
13 | Install DuctBank Mark 15 (DBP-ATS1E/XFMR2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
14 | Install DuctBank Mark 16 (DBP-ATS1N/XFMR1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
15 | Install DuctBank Mark 1 (DBP-SWGR2/EC1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
16 | Install DuctBank Mark 2 (DBP-SWGR1/EC2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
17 | Install DuctBank Mark 11 (DBP-EC3/XFMR3-2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
18 | Install DuctBank Mark 10 (DBP-EC3/XFMR1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
19 | Install Duct Bank Mark 7 - DBP-EC3/MH5A (Partial - Under SUB4 Foundation) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
B. | Elec/Lighting/Fire/Security/Phone Systems | 1 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
20 | Install Bldg UPS (SUB4-UPS-01) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
21 | Install Building Lighting (SUB4-PANEL-03 & 04) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
22 | Install Interior Grounding (SUB4) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
23 | Install Lighting Contactor (SUB4-LC-01) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
24 | Install Telephone System (SUB4-PANEL-01) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
25 | Install Bldg Power Distribution System & Receptacles | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
26 | Install Fire Detection & Alarm System (SUB4-FIREPANEL-01) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
27 | Install Building Security (SUB4-PANEL-02) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
28 | Install Bldg Interior Conduits & Raceways | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
C. | HVAC System | 1 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
29 | Install HVAC System Control Panels (SUB4-CP-HVAC 3 & 4) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
D. | Electrical Switchgear & Equipment | 1 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
30 | Install 480V Power Distribution Panelboard (SUB4-PANEL-05) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
31 | Install Auto Transfer Switch (SUB4-ATS-01) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
32 | Install Aux XFMR (SUB4-XFMR-05) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
33 | Install Breaker Test Control Panel (SUB1-CP-01) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
34 | Install Enclosed Circuit Breakers (SUB4-BRK-ATS-1N & 1E) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
35 | Install Main Control Panel (SUB4-CONTROLPANEL-01) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
36 | Install Surge Protection Device (SUB4-SPD-PNL5) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
37 | Install 12.47kV Switchgear (SUB4-SWGR-01, SUB4-SWGR-02) and 12.47kV Bus Duct | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
38 | Install 4.16kV Switchgear (SUB4-SWGR-03, SUB4-SWGR-04) and 4.16kV Bus Duct | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
39 | Install Bldg Control Cables & Instrumentation Wiring | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
40 | Install Bldg Power Cables and Aux Power Cables | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
41 | Megger Testing / Hi-Pot 600V and MV Cables | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
42 | Terminate Power & Control Cables (SUB4) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
43 | PICS Stage 1 Installed & Ready for Use | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
44 | Perform ORT Stage 1 with Owner | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
45 | Perform Stage 1 PAT with Owner | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
1
E. | XFMR Foundations & Equipment | 1 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
46 | Grounding System Testing - SUB4 Outdoor Foundations Area | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
47 | Install 12.47/4.16kV XFMRs (SUB4-XFMR-03, SUB4-XFMR-04) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
48 | Install 12.47kV/480V/277V XFMRs (SUB4-XFMR-01, SUB4-XFMR-02) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
49 | Install Control Cables (SUB4 to XFMR Pad Area) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
50 | Install Power Cables (Sub4 to XFMR Pad Area) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
51 | Megger Testing / Hi-Pot Cables | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
52 | Terminate Power & Control Cables (SUB4 to XFMR Pad Area) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
F. | Austin Energy Outdoor Switchgear Foundations and Equipment | 1 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
53 | Install Duct Bank (DBP-AE-PMC1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
54 | Install Duct Bank (DBP-AE-PMC2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
55 | Install Duct Bank (DBP-AE1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
56 | Install Duct Bank (DBP-AE2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
57 | Install Duct Bank (DBP-PMC2/EC1) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
58 | Install Duct Bank (DBP-PMC1/EC2) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
59 | Install Duct Bank (DBP-AE3) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
60 | Install Duct Bank (PNL4-35,37/PNL4-39,41) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
61 | Install Manhole (EMH-AE) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
62 | Install Austin Energy Outdoor Switchgear | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
63 | Install Primary Metering Cabinets (SUB4-PMC-01 & 02) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
64 | Install Power Cables & Grounding Cables (SUB4 to Austin Energy Metering Area) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
65 | Megger Testing / Hi-Pot Cables | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
66 | Terminate Power & Control Cables (SUB4 to Austin Energy Area) | 1 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
G. | Duct Banks/Manholes | 2 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Duct Bank - 12" X 18" (1+00 to 2+80.03) - 180' | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
2 | Manhole #1 (6'X6') | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
3 | Duct Bank 12" X 18" (2+80.03 to 4+88.33) - 208' | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
4 | Manhole #2 (6'X6') | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
5 | Duct Bank 12" X 18" (4+88.33 to 6+75) - 187' | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
6 | Install Grounding / Racking MH # 1 & MH #2 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
7 | Perform Testing of Grounding System MH # 1 & MH #2 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
8 | Pull Power, Control and Grounding Cables from SUB4 to Manhole #1 ~ 180' | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
9 | Pull Power, Control and Grounding Cables from Manhole #1 to Manhole #2 - 208' | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
10 | Pull Power, Control and Grounding Cables from Manhole #2 to PAC-XFMR-01 - 187' | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
11 | Megger Testing / Hi-Pot Cables - SUB4 to PAC-XFMR-01 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
12 | Terminate Cables from SUB4 to PAC-XFMR-01 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
H. | New XFMR (PAC-XFMR-01) | 2 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
13 | Perform Testing of Grounding System PAC XFMR Area | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
14 | Deliver and Set XFMR - PAC-XFMR-01 to New Foundation | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
15 | Assemble / Dress Out PAC-XFMR-01 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
16 | Install DuctBank & Raceways from PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
17 | Pull Power, Control and Grounding Cables from PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
18 | Megger Testing / Hi-Pot Cables - PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
19 | Terminate Cables from PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
20 | PICS Stage 2 Installed & Ready for Use | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
21 | Perform ORT Stage 2 with Owner | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
22 | ORT Stage 2 Successfully Completed | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
23 | Complete Submission of all Required Submittals Stage 2 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
24 | Provide O&M Manuals Stage 2 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
25 | Provide Training for Owner's Operations Personnel - Stage 2 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
26 | Return System to Service - Stage 2 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
I. | XFMR #11 Removal | 2 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
27 | Remove from Service - Stage 2 Equipment | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
28 | Disconnect Feeder Cables & Drain Oil (if Req'd) from Existing XFMR No. 11 | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
29 | Remove Existing XFMR No. 11 from Pad and Transport to New location | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
30 | Remove Existing XFMR Pad and Ducts | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
31 | Excavate using HydroVac to expose existing Duct Bank | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
32 | Backfill & Compact | 2 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
J. | Duct Banks/Manholes SUB4 to LSPS Manholes | 3 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Manholes 3A & 3B | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
2 | Manholes 2A & 2B | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
3 | Manholes 1A & 1B | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
4 | Manholes 4A & 4B | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
5 | Install Grounding / Racking all Manholes - MH #1A thru MH #4B | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
6 | Perform Testing of Grounding for all Manholes - MH #1A thru MH #4B | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
K. | Duct Banks | 3 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
7 | Install DuctBank Mark 21 (DB-CC-MH1A) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
8 | Install DuctBank Mark 19 (DBP-EC3/MH1A-3) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
9 | Install DuctBank Mark 20 (DBP-EC4&5/MH1B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
10 | Install DuctBank Mark 23 (DBP-EC4/MH1B-3) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
11 | Install DuctBank Mark 24 (DB-CC/MH1B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
12 | Install DuctBank Mark 25 (DBP-MH1B/MH2B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
13 | Install DuctBank Mark 26 (DBP-MH1A/MH2A) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
14 | Install DuctBank Mark 27 (DBP-MH1/MH2) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
15 | Install DuctBank (MH1A/1B to MHs 2A/2B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
16 | Install Duct Bank (MHs 2A/2B to MHs 3A/3B) (181') | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
17 | Install Duct Bank (MHs 3A/3B to MHs 4A/4B) (224') | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
18 | Install Duct Bank (MHs 4A/4B to LSPS Area) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
L. | Cable Pulls & Terminations | 3 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
19 | Pull Power Cables and Grounding Cables (SUB4 to MHs 1A/1B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
20 | Pull Power Cables and Grounding Cables (MHs 1A/1B to MHs 2A/2B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
21 | Pull Power Cables and Grounding Cables (MHs 2A/2B to MHs 3A/3B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
22 | Pull Power Cables and Grounding Cables (MHs 3A/3B to MHs 4A/4B) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
23 | Pull Power Cables and Grounding Cables (MHs 4A/4B to LSPS Area) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
24 | Pull Fiber (SUB4 to LSPS Area) | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
25 | Megger Testing / Hi-Pot Cables - SUB4 to LSPS | 3 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
M. | Part 1 Demo | 4 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Remove from Service - Stage 4 Equipment | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
2 | Remove Existing Aux XFMRs (LSPS-LP-L14, -T14) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
3 | Disconnect & Remove Existing Cables / Wires - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
4 | Remove Existing 4.16kV Sitchgear (SUB3-BUS-B) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
5 | Remove Existing 480V Automatic Transfer Switch (LSPS-XSW-ATS1) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
6 | Remove Existing 480V Panelboard (LSPS-PP-001A) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
7 | Remove Existing Conduits & Raceways in the LSPS - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
8 | Remove Existing XFMR (SUB3-XFMR-02) & Transport to Location Specified by Owner | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
9 | Excavate using HydroVac to Expose & Remove Existing Conduits - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
10 | Demo Existing Outdoor Foundation Area - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
N. | Part 1 New Equipment LSPS-XFMR-01 | 4 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
11 | Grounding System Testing (LSPS-XFMR-01) (Partial) - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
12 | Deliver & Set XFMR (LSPS-XFMR-01) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
13 | Assemble / Dress Out XFMR (LSPS-XFMR-01) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
O. | Part 1-Other Equipment | 4 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
14 | Install 480:208/120V XFMR (LSPS-XFMR-04) - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
15 | Install 480V Panelboard (LSPS-PANEL-03) - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
16 | Install 480V Panelboard (LSPS-PANEL-04) - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
17 | Install 480V Switchboard (LSPS-SWBD-01) - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
P. | Part 1 Duct Banks & Cables | 4 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
18 | Install Conduits & Raceways in LSPS - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
19 | Install Duct Bank between (LSPS-SWBD-01) and Panelboard (LSPS-PANEL-03) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
20 | Install Duct Bank between (MH4A) and XFMR (LSPS-XFMR-01) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
21 | Install Power Cables - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
22 | Install Control Cables & Instrumentation Wiring - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
23 | Megger Testing / Hi-Pot Cables - LSPS Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
24 | Terminate Power & Control Cables & Instrumentation Wiring - Part 1 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
25 | PICS Stage 4 Installed & Ready for Use | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
26 | Perform ORT Stage 4 with Owner | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
27 | ORT Stage 4 Successfully Completed | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
28 | Complete Submission of all Required Submittals Stage 4 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
29 | Provide O&M Manuals Stage 4 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
30 | Provide Training for Owner's Operations Personnel - Stage 4 | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
31 | Transfer Loads from existing Panelboard (LSPS-PP-001A) to new Panelboad (LSPS-PANEL-03) | 4 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
Q. | Part 2 Demo | 5 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Remove from Service - Stage 5 Equipment | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
2 | Disconnect & Remove Existing Cables / Wires - Part 2 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
3 | Remove Existing Conduits & Raceways in the LSPS - Part 2 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
4 | Remove Existing 4.16kV/480V XFMR (LSPS-XFMR-002) | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
R. | Part 2 New Equipment | 5 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
5 | Install 480V Switchboard (LSPS-SWBD-03) | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
S. | Part 2 Duct Banks & Cables | 5 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
6 | Install Duct Bank between Switchboards (LSPS-SWBD-01) and (LSPS-SWBD-03) | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
7 | Install Conduits & Raceways in LSPS - Part 2 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
8 | Install Control Cables & Instrumentation Wiring - Part 2 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
9 | Install Power Cables - Part 2 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
10 | Megger Testing / Hi-Pot Cables - LSPS Part 2 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
11 | Terminate Power & Control Cables & Instrumentation Wiring - Part 2 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
12 | PICS Stage 5 Installed & Ready for Use | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
13 | Perform ORT Stage 5 with Owner | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
14 | ORT Stage 5 Successfully Completed | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
15 | Complete Submission of all Required Submittals Stage 5 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
16 | Provide O&M Manuals Stage 5 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
17 | Provide Training for Owner's Operations Personnel - Stage 5 | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
18 | Transfer Loads from existing Switchboard (LSPS-PWRC-001) to new Switchboad (LSPS-SWBD-03) | 5 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
T. | Part 3 Demo | 6 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Remove from Service - Stage 6 Equipment | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
2 | Disconnect & Remove Existing Cables / Wires - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
3 | Remove Existing Conduits & Raceways in the LSPS - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
4 | Remove Existing 4.16kV Switchgear (SUB3-BUS-A) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
5 | Remove Existing 4.16kV/480V XFMR (LSPS-XFMR-001) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
6 | Remove Existing 12.47/4.16kV XFMR (SUB3-XFMR-01) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
7 | Remove Existing 12.47kV Switchgear (SUB3-BUS-1) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
8 | Remove Existing 12.47kV Switchgear (SUB3-BUS-2) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
9 | Remove Existing 480V Switchboard (LSPS-PWRC-001) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
10 | Remove Existing Outdoor Lighting | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
U. | Part 3 new Equipment LSPS-XFMR-02 | 6 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
11 | Test Grounding System (LSPS-XFMR-02) (Partial) - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
12 | Deliver & Set XFMR (LSPS-XFMR-02) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
13 | Assemble / Dress Out XFMR (LSPS-XFMR-02) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
V. | Other Equipment | 6 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
14 | Install 480V Switchboard (LSPS-SWBD-04) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
15 | Install 480V Switchboard (LSPS-SWBD-05) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
16 | Install 480V Switchboard (LSPS-SWBD-06) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
17 | Install Auto Transfer Switches (LSPS-ATS-01) and (LSPS-ATS-02) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
18 | New Remote I/O Cabinet (LSPS-COMMPANEL-03) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
19 | Install 480V Switchboard (LSPS-SWBD-02) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
W. | Part 3 Duct Banks & Cables | 6 | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0 | MH
20 | Upgrades to the Existing LSPS PLC I/O Cabinet "A1" | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
21 | Upgrades to the Existing LSPS SCADA Hub "A" | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
22 | Install Conduits & Raceways in LSPS - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
23 | Install Outdoor Lighting & Mini Power Center (LSPS-POWERCENTER-01) | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
24 | Install UG Duct Bank - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
25 | Install Power Cables - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
26 | Install Control Cables & Instrumentation Wiring - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
27 | Megger Testing / Hi-Pot Cables - LSPS Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
28 | Terminate Power & Control Cables & Instrumentation Wiring - Part 3 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
29 | PICS Stage 6 Installed & Ready for Use | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
30 | Perform ORT Stage 6 with Owner | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
31 | ORT Stage 6 Successfully Completed | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
32 | SCADA Software Training | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
33 | SCADA Hardware Training | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
34 | Ethernet Switches Hardware / Software Training | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
35 | Instrumentation & Control Panel(s) Training | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
36 | Miscellaneous Training | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
37 | Complete Submission of all Required Submittals Stage 6 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
38 | Provide O&M Manuals Stage 6 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
39 | Provide Training for Owner's Operations Personnel - Stage 6 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
40 | Place System in Service - Stage 6 | 6 | 1 | $/LS |  | $/LS |  | $/LS | 0 |  | MH
X. | MISCELLANEOUS | MISC | 1 | $/LS | 0 | $/LS | 0 | $/LS | 0 | 0
1 | Mobilization |  | 1 | $/LS |  | $/LS |  | $/LS | 0
2 | DeMobilization |  | 1 | $/LS |  | $/LS |  | $/LS | 0
3 | Construction Safety Orientations-All onsite construction labor will take part in an onsite Safety Awareness Training prior to start of work. (Assume 1 manhour per onsite worker for site orientation). |  | 1 | $/LS |  | $/LS |  | $/LS | 0
| TOTAL |  |  |  | 0 |  | 0 |  | 0 | 0

## Labor
|  |  | Totals |  | FILL IN YELLOW CELLS |  |  | FILL IN YELLOW CELLS
City Of Austin |  | Stage 1- Switchgear Building | 0
Ullrich WTP Electric Feed Renewal Project |  | Stage 2-Existing PAC Building | 0
Pricing Sheet |  | Stage 3 -Duct Banks From SUB4 to Existing LSPS | 0
2021-06-25 |  | Stage 4 - Part 1 Existing LSPS | 0
|  | Stage 5 Part 2 Existing LSPS | 0
|  | Stage 6- Part 3 Esisting LSPS | 0
|  | Misc. | 0
ID | Description | Stage | Bid Measure | UOM ($/UOM) | Firm Labor Price | UOM ($/UOM) | TOTAL PRICE | Estimated Manhours | MH
A. | Switchgear Building-Civil | 1 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Install DuctBank Mark 14 (DBP-CC/MH1A&B) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
2 | Install DuctBank Mark 13 (DBP-EC4/MH1B-2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
3 | Install DuctBank Mark 22 (DBP-EC4/MH1B-1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
4 | Install DuctBank Mark 17 (DBP-EC3/MH1A-2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
5 | Install DuctBank Mark 3 (DBP-EC3/MH1A-1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
6 | Install DuctBank Mark 5 (DBP-EC4/STUBOUT) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
7 | Install DuctBank Mark 6 (DBP-CC/STUBOUT) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
8 | Install DuctBank Mark 9 (DBP-EC4/XFMR4-1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
9 | Install DuctBank Mark 12 (DBP-EC4/XFMR4-2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
10 | Install DuctBank Mark 18 (DBP-EC4/XFMR2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
11 | Install DuctBank Mark 8 (DBP-EC3/XFMR3-1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
12 | Install DuctBank Mark 4 (DBP-EC2/XFMR1&3) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
13 | Install DuctBank Mark 15 (DBP-ATS1E/XFMR2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
14 | Install DuctBank Mark 16 (DBP-ATS1N/XFMR1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
15 | Install DuctBank Mark 1 (DBP-SWGR2/EC1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
16 | Install DuctBank Mark 2 (DBP-SWGR1/EC2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
17 | Install DuctBank Mark 11 (DBP-EC3/XFMR3-2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
18 | Install DuctBank Mark 10 (DBP-EC3/XFMR1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
19 | Install Duct Bank Mark 7 - DBP-EC3/MH5A (Partial - Under SUB4 Foundation) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
B. | Elec/Lighting/Fire/Security/Phone Systems | 1 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
20 | Install Bldg UPS (SUB4-UPS-01) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
21 | Install Building Lighting (SUB4-PANEL-03 & 04) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
22 | Install Interior Grounding (SUB4) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
23 | Install Lighting Contactor (SUB4-LC-01) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
24 | Install Telephone System (SUB4-PANEL-01) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
25 | Install Bldg Power Distribution System & Receptacles | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
26 | Install Fire Detection & Alarm System (SUB4-FIREPANEL-01) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
27 | Install Building Security (SUB4-PANEL-02) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
28 | Install Bldg Interior Conduits & Raceways | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
C. | HVAC System | 1 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
29 | Install HVAC System Control Panels (SUB4-CP-HVAC 3 & 4) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
D. | Electrical Switchgear & Equipment | 1 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
30 | Install 480V Power Distribution Panelboard (SUB4-PANEL-05) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
31 | Install Auto Transfer Switch (SUB4-ATS-01) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
32 | Install Aux XFMR (SUB4-XFMR-05) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
33 | Install Breaker Test Control Panel (SUB1-CP-01) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
34 | Install Enclosed Circuit Breakers (SUB4-BRK-ATS-1N & 1E) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
35 | Install Main Control Panel (SUB4-CONTROLPANEL-01) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
36 | Install Surge Protection Device (SUB4-SPD-PNL5) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
37 | Install 12.47kV Switchgear (SUB4-SWGR-01, SUB4-SWGR-02) and 12.47kV Bus Duct | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
38 | Install 4.16kV Switchgear (SUB4-SWGR-03, SUB4-SWGR-04) and 4.16kV Bus Duct | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
39 | Install Bldg Control Cables & Instrumentation Wiring | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
40 | Install Bldg Power Cables and Aux Power Cables | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
41 | Megger Testing / Hi-Pot 600V and MV Cables | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
42 | Terminate Power & Control Cables (SUB4) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
43 | PICS Stage 1 Installed & Ready for Use | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
44 | Perform ORT Stage 1 with Owner | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
45 | Perform Stage 1 PAT with Owner | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
1
E. | XFMR Foundations & Equipment | 1 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
46 | Grounding System Testing - SUB4 Outdoor Foundations Area | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
47 | Install 12.47/4.16kV XFMRs (SUB4-XFMR-03, SUB4-XFMR-04) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
48 | Install 12.47kV/480V/277V XFMRs (SUB4-XFMR-01, SUB4-XFMR-02) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
49 | Install Control Cables (SUB4 to XFMR Pad Area) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
50 | Install Power Cables (Sub4 to XFMR Pad Area) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
51 | Megger Testing / Hi-Pot Cables | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
52 | Terminate Power & Control Cables (SUB4 to XFMR Pad Area) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
F. | Austin Energy Outdoor Switchgear Foundations and Equipment | 1 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
53 | Install Duct Bank (DBP-AE-PMC1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
54 | Install Duct Bank (DBP-AE-PMC2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
55 | Install Duct Bank (DBP-AE1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
56 | Install Duct Bank (DBP-AE2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
57 | Install Duct Bank (DBP-PMC2/EC1) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
58 | Install Duct Bank (DBP-PMC1/EC2) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
59 | Install Duct Bank (DBP-AE3) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
60 | Install Duct Bank (PNL4-35,37/PNL4-39,41) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
61 | Install Manhole (EMH-AE) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
62 | Install Austin Energy Outdoor Switchgear | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
63 | Install Primary Metering Cabinets (SUB4-PMC-01 & 02) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
64 | Install Power Cables & Grounding Cables (SUB4 to Austin Energy Metering Area) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
65 | Megger Testing / Hi-Pot Cables | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
66 | Terminate Power & Control Cables (SUB4 to Austin Energy Area) | 1 | 1 | $/LS |  | $/LS | 0 |  | MH
G. | Duct Banks/Manholes | 2 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Duct Bank - 12" X 18" (1+00 to 2+80.03) - 180' | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
2 | Manhole #1 (6'X6') | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
3 | Duct Bank 12" X 18" (2+80.03 to 4+88.33) - 208' | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
4 | Manhole #2 (6'X6') | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
5 | Duct Bank 12" X 18" (4+88.33 to 6+75) - 187' | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
6 | Install Grounding / Racking MH # 1 & MH #2 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
7 | Perform Testing of Grounding System MH # 1 & MH #2 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
8 | Pull Power, Control and Grounding Cables from SUB4 to Manhole #1 ~ 180' | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
9 | Pull Power, Control and Grounding Cables from Manhole #1 to Manhole #2 - 208' | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
10 | Pull Power, Control and Grounding Cables from Manhole #2 to PAC-XFMR-01 - 187' | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
11 | Megger Testing / Hi-Pot Cables - SUB4 to PAC-XFMR-01 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
12 | Terminate Cables from SUB4 to PAC-XFMR-01 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
H. | New XFMR (PAC-XFMR-01) | 2 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
13 | Perform Testing of Grounding System PAC XFMR Area | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
14 | Deliver and Set XFMR - PAC-XFMR-01 to New Foundation | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
15 | Assemble / Dress Out PAC-XFMR-01 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
16 | Install DuctBank & Raceways from PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
17 | Pull Power, Control and Grounding Cables from PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
18 | Megger Testing / Hi-Pot Cables - PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
19 | Terminate Cables from PAC-XFMR-01 to PAC-MCC-007 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
20 | PICS Stage 2 Installed & Ready for Use | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
21 | Perform ORT Stage 2 with Owner | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
22 | ORT Stage 2 Successfully Completed | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
23 | Complete Submission of all Required Submittals Stage 2 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
24 | Provide O&M Manuals Stage 2 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
25 | Provide Training for Owner's Operations Personnel - Stage 2 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
26 | Return System to Service - Stage 2 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
I. | XFMR #11 Removal | 2 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
27 | Remove from Service - Stage 2 Equipment | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
28 | Disconnect Feeder Cables & Drain Oil (if Req'd) from Existing XFMR No. 11 | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
29 | Remove Existing XFMR No. 11 from Pad and Transport to New location | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
30 | Remove Existing XFMR Pad and Ducts | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
31 | Excavate using HydroVac to expose existing Duct Bank | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
32 | Backfill & Compact | 2 | 1 | $/LS |  | $/LS | 0 |  | MH
J. | Duct Banks/Manholes SUB4 to LSPS Manholes | 3 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Manholes 3A & 3B | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
2 | Manholes 2A & 2B | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
3 | Manholes 1A & 1B | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
4 | Manholes 4A & 4B | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
5 | Install Grounding / Racking all Manholes - MH #1A thru MH #4B | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
6 | Perform Testing of Grounding for all Manholes - MH #1A thru MH #4B | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
K. | Duct Banks | 3 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
7 | Install DuctBank Mark 21 (DB-CC-MH1A) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
8 | Install DuctBank Mark 19 (DBP-EC3/MH1A-3) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
9 | Install DuctBank Mark 20 (DBP-EC4&5/MH1B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
10 | Install DuctBank Mark 23 (DBP-EC4/MH1B-3) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
11 | Install DuctBank Mark 24 (DB-CC/MH1B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
12 | Install DuctBank Mark 25 (DBP-MH1B/MH2B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
13 | Install DuctBank Mark 26 (DBP-MH1A/MH2A) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
14 | Install DuctBank Mark 27 (DBP-MH1/MH2) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
15 | Install DuctBank (MH1A/1B to MHs 2A/2B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
16 | Install Duct Bank (MHs 2A/2B to MHs 3A/3B) (181') | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
17 | Install Duct Bank (MHs 3A/3B to MHs 4A/4B) (224') | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
18 | Install Duct Bank (MHs 4A/4B to LSPS Area) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
L. | Cable Pulls & Terminations | 3 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
19 | Pull Power Cables and Grounding Cables (SUB4 to MHs 1A/1B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
20 | Pull Power Cables and Grounding Cables (MHs 1A/1B to MHs 2A/2B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
21 | Pull Power Cables and Grounding Cables (MHs 2A/2B to MHs 3A/3B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
22 | Pull Power Cables and Grounding Cables (MHs 3A/3B to MHs 4A/4B) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
23 | Pull Power Cables and Grounding Cables (MHs 4A/4B to LSPS Area) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
24 | Pull Fiber (SUB4 to LSPS Area) | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
25 | Megger Testing / Hi-Pot Cables - SUB4 to LSPS | 3 | 1 | $/LS |  | $/LS | 0 |  | MH
M. | Part 1 Demo | 4 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Remove from Service - Stage 4 Equipment | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
2 | Remove Existing Aux XFMRs (LSPS-LP-L14, -T14) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
3 | Disconnect & Remove Existing Cables / Wires - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
4 | Remove Existing 4.16kV Sitchgear (SUB3-BUS-B) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
5 | Remove Existing 480V Automatic Transfer Switch (LSPS-XSW-ATS1) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
6 | Remove Existing 480V Panelboard (LSPS-PP-001A) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
7 | Remove Existing Conduits & Raceways in the LSPS - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
8 | Remove Existing XFMR (SUB3-XFMR-02) & Transport to Location Specified by Owner | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
9 | Excavate using HydroVac to Expose & Remove Existing Conduits - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
10 | Demo Existing Outdoor Foundation Area - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
N. | Part 1 New Equipment LSPS-XFMR-01 | 4 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
11 | Grounding System Testing (LSPS-XFMR-01) (Partial) - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
12 | Deliver & Set XFMR (LSPS-XFMR-01) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
13 | Assemble / Dress Out XFMR (LSPS-XFMR-01) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
O. | Part 1-Other Equipment | 4 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
14 | Install 480:208/120V XFMR (LSPS-XFMR-04) - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
15 | Install 480V Panelboard (LSPS-PANEL-03) - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
16 | Install 480V Panelboard (LSPS-PANEL-04) - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
17 | Install 480V Switchboard (LSPS-SWBD-01) - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
P. | Part 1 Duct Banks & Cables | 4 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
18 | Install Conduits & Raceways in LSPS - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
19 | Install Duct Bank between (LSPS-SWBD-01) and Panelboard (LSPS-PANEL-03) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
20 | Install Duct Bank between (MH4A) and XFMR (LSPS-XFMR-01) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
21 | Install Power Cables - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
22 | Install Control Cables & Instrumentation Wiring - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
23 | Megger Testing / Hi-Pot Cables - LSPS Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
24 | Terminate Power & Control Cables & Instrumentation Wiring - Part 1 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
25 | PICS Stage 4 Installed & Ready for Use | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
26 | Perform ORT Stage 4 with Owner | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
27 | ORT Stage 4 Successfully Completed | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
28 | Complete Submission of all Required Submittals Stage 4 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
29 | Provide O&M Manuals Stage 4 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
30 | Provide Training for Owner's Operations Personnel - Stage 4 | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
31 | Transfer Loads from existing Panelboard (LSPS-PP-001A) to new Panelboad (LSPS-PANEL-03) | 4 | 1 | $/LS |  | $/LS | 0 |  | MH
Q. | Part 2 Demo | 5 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Remove from Service - Stage 5 Equipment | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
2 | Disconnect & Remove Existing Cables / Wires - Part 2 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
3 | Remove Existing Conduits & Raceways in the LSPS - Part 2 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
4 | Remove Existing 4.16kV/480V XFMR (LSPS-XFMR-002) | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
R. | Part 2 New Equipment | 5 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
5 | Install 480V Switchboard (LSPS-SWBD-03) | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
S. | Part 2 Duct Banks & Cables | 5 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
6 | Install Duct Bank between Switchboards (LSPS-SWBD-01) and (LSPS-SWBD-03) | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
7 | Install Conduits & Raceways in LSPS - Part 2 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
8 | Install Control Cables & Instrumentation Wiring - Part 2 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
9 | Install Power Cables - Part 2 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
10 | Megger Testing / Hi-Pot Cables - LSPS Part 2 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
11 | Terminate Power & Control Cables & Instrumentation Wiring - Part 2 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
12 | PICS Stage 5 Installed & Ready for Use | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
13 | Perform ORT Stage 5 with Owner | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
14 | ORT Stage 5 Successfully Completed | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
15 | Complete Submission of all Required Submittals Stage 5 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
16 | Provide O&M Manuals Stage 5 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
17 | Provide Training for Owner's Operations Personnel - Stage 5 | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
18 | Transfer Loads from existing Switchboard (LSPS-PWRC-001) to new Switchboad (LSPS-SWBD-03) | 5 | 1 | $/LS |  | $/LS | 0 |  | MH
T. | Part 3 Demo | 6 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
1 | Remove from Service - Stage 6 Equipment | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
2 | Disconnect & Remove Existing Cables / Wires - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
3 | Remove Existing Conduits & Raceways in the LSPS - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
4 | Remove Existing 4.16kV Switchgear (SUB3-BUS-A) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
5 | Remove Existing 4.16kV/480V XFMR (LSPS-XFMR-001) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
6 | Remove Existing 12.47/4.16kV XFMR (SUB3-XFMR-01) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
7 | Remove Existing 12.47kV Switchgear (SUB3-BUS-1) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
8 | Remove Existing 12.47kV Switchgear (SUB3-BUS-2) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
9 | Remove Existing 480V Switchboard (LSPS-PWRC-001) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
10 | Remove Existing Outdoor Lighting | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
U. | Part 3 new Equipment LSPS-XFMR-02 | 6 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
11 | Test Grounding System (LSPS-XFMR-02) (Partial) - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
12 | Deliver & Set XFMR (LSPS-XFMR-02) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
13 | Assemble / Dress Out XFMR (LSPS-XFMR-02) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
V. | Other Equipment | 6 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
14 | Install 480V Switchboard (LSPS-SWBD-04) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
15 | Install 480V Switchboard (LSPS-SWBD-05) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
16 | Install 480V Switchboard (LSPS-SWBD-06) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
17 | Install Auto Transfer Switches (LSPS-ATS-01) and (LSPS-ATS-02) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
18 | New Remote I/O Cabinet (LSPS-COMMPANEL-03) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
19 | Install 480V Switchboard (LSPS-SWBD-02) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
W. | Part 3 Duct Banks & Cables | 6 | 1 | $/LS | 0 | $/LS | 0 | 0 | MH
20 | Upgrades to the Existing LSPS PLC I/O Cabinet "A1" | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
21 | Upgrades to the Existing LSPS SCADA Hub "A" | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
22 | Install Conduits & Raceways in LSPS - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
23 | Install Outdoor Lighting & Mini Power Center (LSPS-POWERCENTER-01) | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
24 | Install UG Duct Bank - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
25 | Install Power Cables - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
26 | Install Control Cables & Instrumentation Wiring - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
27 | Megger Testing / Hi-Pot Cables - LSPS Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
28 | Terminate Power & Control Cables & Instrumentation Wiring - Part 3 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
29 | PICS Stage 6 Installed & Ready for Use | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
30 | Perform ORT Stage 6 with Owner | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
31 | ORT Stage 6 Successfully Completed | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
32 | SCADA Software Training | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
33 | SCADA Hardware Training | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
34 | Ethernet Switches Hardware / Software Training | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
35 | Instrumentation & Control Panel(s) Training | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
36 | Miscellaneous Training | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
37 | Complete Submission of all Required Submittals Stage 6 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
38 | Provide O&M Manuals Stage 6 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
39 | Provide Training for Owner's Operations Personnel - Stage 6 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
40 | Place System in Service - Stage 6 | 6 | 1 | $/LS |  | $/LS | 0 |  | MH
X. | MISCELLANEOUS | MISC | 1 | $/LS | 0 | $/LS | 0 | 0
1 | Mobilization |  | 1 | $/LS |  | $/LS | 0
2 | DeMobilization |  | 1 | $/LS |  | $/LS | 0
3 | Construction Safety Orientations-All onsite construction labor will take part in an onsite Safety Awareness Training prior to start of work. (Assume 1 manhour per onsite worker for site orientation). |  | 1 | $/LS |  | $/LS | 0
| TOTAL |  |  |  | 0 |  | 0 | 0