## Sheet1
Line Nbr | # | Order Qty | Designation | Catalog Number | Catalog Description
Metalclad Switchgear
69 | 0 | 1 | 15kV Mclad UTILITY | MetalClad Switchgear | Metal Clad Switchgear
1 | 0 | 1 | 15kv Mclad UTILITY | MetalClad Switchgear | Metal Clad Switchgear
2 | 0 | 1 | 15kv Mclad SUB4-SWGR-01 | MetalClad Switchgear | Metal Clad Switchgear
3 | 0 | 1 | 15kv Mclad SUB4-SWGR-02 | MetalClad Switchgear | Metal Clad Switchgear
4 | 0 | 1 | 5kv Mclad SUB4-SWGR-03 | MetalClad Switchgear | Metal Clad Switchgear
5 | 0 | 1 | 5kv Mclad SUB4-SWGR-04 | MetalClad Switchgear | Metal Clad Switchgear
Low Voltage Switchboards
9 | 0 | 1 | LSPS-SWBD-03 | Square D Custom Swbd Series 2 | QED-2 Switchboard
10 | 0 | 1 | LSPS-SWBD-04 | Square D Custom Swbd Series 2 | QED-2 Switchboard
11 | 0 | 1 | LSPS-SWBD-05 | Square D Custom Swbd Series 2 | QED-2 Switchboard
12 | 0 | 1 | LSPS-SWBD-06 | Square D Custom Swbd Series 2 | QED-2 Switchboard
8 | 0 | 1 | LSPS-SWBD-02 | Square D Custom Swbd Comms | QED-2 Switchboard
85 | 0 | 1 | LSPS-SWBD-01 | Square D Custom Swbd Comms | QED-2 Switchboard
Powercast Transformers
20 | 0 | 2 | 500kva SUB4-XFMR-01/02 | CLASS 7310 POWER CAST TRANSFORMER | SQUARE D SECONDARY UNIT SUBSTATION
21 | 0 | 2 | 10 MVA SUB4-XFMR-03/04 | CLASS 7310 POWER CAST TRANSFORMER | SQUARE D SECONDARY UNIT SUBSTATION
22 | 0 | 1 | 500kva PAC-XFMR-01 | CLASS 7310 POWER CAST TRANSFORMER | SQUARE D SECONDARY UNIT SUBSTATION
23 | 0 | 1 | 1000kva LSPS-XFMR-01 | CLASS 7310 POWER CAST TRANSFORMER | SQUARE D SECONDARY UNIT SUBSTATION
24 | 0 | 1 | 1000kva LSPS-XFMR-02 | CLASS 7310 POWER CAST TRANSFORMER | SQUARE D SECONDARY UNIT SUBSTATION
Non-Seg Bus Duct
6 | 0 | 1 | 15KV Busduct | POWERZONE NON-SEGREGATED BUS | NON-SEGREGATED BUS Consisting of:
7 | 0 | 1 | 5KV Busduct | POWERZONE NON-SEGREGATED BUS | NON-SEGREGATED BUS Consisting of:
Low VoltageTransformers
13 | 0 | 1 | LSPS-XFMR-04 | EXN15T3HBCU | TRANSFORMER DRY TYPE 15KVA 480D208Y CU-8
14 | 0 | 1 | LSPS-XFMR-04 | DASKP100 | LUG KIT
15 | 0 | 1 | LSPS-XFMR-04 | DASKGS100 | MECHANICAL LUG KITS
16 | 0 | 1 | LSPS-XFMR-05 | 7S1FB | LV Transformer: Sealed Resin Encapsulated
17 | 0 | 1 | SUB4-XFMR-05 | EXN45T3HBCU | TRANSFORMER DRY TYPE 45KVA 480D208Y CU-8
18 | 0 | 1 | SUB4-XFMR-05 | DASKP100 | LUG KIT
19 | 0 | 1 | SUB4-XFMR-05 | DASKGS250 | MECHANICAL LUG KITS
Panelboards
25 | 0 | 1 | LSPS-PANEL-03 | I-Line MB Panel (INTERIOR) | I-Line Panelboard
26 | 0 | 1 | LSPS-PANEL-03 | HC4286DD (BOX) | I-Line 3R/12 Door-in-Door 42 W 86 H 12.95D
27 | 0 | 1 | LSPS-PANEL-04 | NQ MB Panel (INTERIOR) | NQ Panelboard
77 | 0 | 1 | LSPS-PANEL-04 | MH56DD (BOX) | NQ 3R/12 Door-in-Door 20 W 56 H 6.5D
29 | 0 | 1 | LSPS-PANEL-05 | NQ MB Panel (INTERIOR) | NQ Panelboard
78 | 0 | 1 | LSPS-PANEL-05 | MH44WP316SS (BOX) | NQ 3R/12 316 Stainless Box 20 W 44 H 6.5D
34 | 0 | 1 | SUB4-PANEL-03 | NQ MB Panel (INTERIOR) | NQ Panelboard
79 | 0 | 1 | SUB4-PANEL-03 | MH56DD (BOX) | NQ 3R/12 Door-in-Door 20 W 56 H 6.5D
36 | 0 | 1 | SUB4-PANEL-04 | NQ MB Panel (INTERIOR) | NQ Panelboard
80 | 0 | 1 | SUB4-PANEL-04 | MH56DD (BOX) | NQ 3R/12 Door-in-Door 20 W 56 H 6.5D
38 | 0 | 1 | SUB4-PANEL-05 | I-Line MB Panel (INTERIOR) | I-Line Panelboard
39 | 0 | 1 | SUB4-PANEL-05 | HC4268DD (BOX) | I-Line 3R/12 Door-in-Door 42 W 68 H 12.95D
40 | 0 | 1 | SUB4-PANEL-06 | I-Line MB Panel (INTERIOR) | I-Line Panelboard
41 | 0 | 1 | SUB4-PANEL-06 | HC3291DD (BOX) | I-Line 3R/12 Door-in-Door 32 W 91 H 11.75D
Mini Power Zone Center
31 | 0 | 1 | LSPS-POWERCENTER-02 | MPZ25S40FSS | Mini Power Zone 25kVA 480-120/240
32 | 0 | 3 | LSPS-POWERCENTER-02 | QOB220 | MINIATURE CIRCUIT BREAKER 120/240V 20A
33 | 0 | 10 | LSPS-POWERCENTER-02 | QOB120 | MINIATURE CIRCUIT BREAKER 120/240V 20A
Enclosed Breakers
42 | 0 | 1 | SUB4-BKR-ATS1N | PJL36060U31A | MOLDED CASE CIRCUIT BREAKER 600V 600A
70 | 0 | 1 | SUB4-BKR-ATS1N | M800SS | ENCLOSURE BREAKER 600V 800A NEMA 4X SS
71 | 0 | 1 | SUB4-BKR-ATS1N | SN1000MA | NEUTRAL ASSEMBLY 1000A
72 | 0 | 1 | SUB4-BKR-ATS1N | PKOGTA4 | HDSS EQUIPMENT GROUND ASSY
46 | 0 | 1 | SUB4-BKR-ATS1E | PJL36060U31A | MOLDED CASE CIRCUIT BREAKER 600V 600A
73 | 0 | 1 | SUB4-BKR-ATS1E | M800SS | ENCLOSURE BREAKER 600V 800A NEMA 4X SS
74 | 0 | 1 | SUB4-BKR-ATS1E | SN1000MA | NEUTRAL ASSEMBLY 1000A
75 | 0 | 1 | SUB4-BKR-ATS1E | PKOGTA4 | HDSS EQUIPMENT GROUND ASSY
50 | 0 | 1 | SUB4-DS-HVAC3 | HJL36030 | MOLDED CASE CIRCUIT BRKR 600V 30A
51 | 0 | 1 | SUB4-DS-HVAC3 | J250SS | ENCLOSURE BREAKER 600V 250A NEMA 4X SS
52 | 0 | 1 | SUB4-DS-HVAC3 | PKOGTH150 | EQUIPMENT GROUND KIT
53 | 0 | 1 | SUB4-DS-HVAC4 | HJL36030 | MOLDED CASE CIRCUIT BRKR 600V 30A
83 | 0 | 1 | SUB4-DS-HVAC4 | J250SS | ENCLOSURE BREAKER 600V 250A NEMA 4X SS
84 | 0 | 1 | SUB4-DS-HVAC4 | PKOGTH150 | EQUIPMENT GROUND KIT
Startup Services
56 | 0 | 1 | Add to existing | SRVLVMMPT | SERVICES
57 | 0 | 1 | Transformer Start up | SRVSQDSER | Startup Services - Straight Time
58 | 0 | 1 | Transformer Start up | SIBS12MONTHEXTWARRWSTARTUP | SIBS 12 MO EXTENDED WARRANTY W/ STARTUP
59 | 0 | 1 | MV Metal Clad Start up | SRVSQDSER | Startup Services - Straight Time
60 | 0 | 1 | MV Metal Clad Start up | SIBS12MONTHEXTWARRWSTARTUP | SIBS 12 MO EXTENDED WARRANTY W/ STARTUP
61 | 0 | 1 | SWB Start up | SRVSQDSER | Startup Services - Straight Time
62 | 0 | 1 | SWB Start up | SIBS12MONTHEXTWARRWSTARTUP | SIBS 12 MO EXTENDED WARRANTY W/ STARTUP