## Sheet1
DALLAS WATER UTILITIES
SCHEDULE A: WATER AND WASTEWATER MAIN INSTALLATIONS AT 32 LOCATIONS AND SCHEDULE B: INSTALLATION OF 24 INCH WASTEWATER MAIN
CONTRACT NO. 20-425/20-426
TIME OF COMPLETION AS PER SPECIAL PROVISION S-6
BIDS RECEIVED: NOVEMBER 5, 2021
BIDDER'S PROPOSAL FORM SUBMITTALS:
1 | Bidder to complete yellow cells.
2 | Upload completed Proposal to Bonfire in Project Folder.
CONTRACTOR'S NAME (Below)
SCHEDULE A: WATER AND WASTEWATER MAIN INSTALLATIONS AT 32 LOCATIONS
BID ITEM | ITEM DESCRIPTION | UNIT | QUANITY | Unit Price | Total Amount | Dollars and Cents (In Words)
1500F | 4" Ductile Iron Water Pipe | LF | 50 | 0 | 0
1500H | 6" Ductile Iron Water Pipe | LF | 200 | 0 | 0
1500J | 8" Ductile Iron Water Pipe | LF | 50 | 0 | 0
1500L | 12" Ductile Iron Water Pipe | LF | 2300 | 0 | 0
1500Q | 16" Ductile Iron Water Pipe | LF | 50 | 0 | 0
1500Y | 30" Ductile Iron Water Pipe | LF | 70 | 0 | 0
1800H | 6" PVC Water Pipe | LF | 600 | 0 | 0
1800J | 8" PVC Water Pipe | LF | 14000 | 0 | 0
1800K | 10" PVC Water Pipe | LF | 10 | 0 | 0
1800L | 12" PVC Water Pipe | LF | 3800 | 0 | 0
3100J | 8" PVC Wastewater Pipe | LF | 3400 | 0 | 0
3110J | 8" PVC Pressure Rated WW Pipe | LF | 9900 | 0 | 0
3110K | 10" PVC Pressure Rated WW Pipe | LF | 1975 | 0 | 0
3110L | 12" PVC Pressure Rated WW Pipe | LF | 1650 | 0 | 0
3110Q | 16" PVC Pressure Rated WW Pipe | LF | 300 | 0 | 0
3120R | 18" PVC Pressure Rated WW Pipe | LF | 750 | 0 | 0
3520H | Rehabilitation Of Existing 6" Wastewater Main | LF | 360 | 0 | 0
3560 | Connection to Ex. Manhole | EA | 1 | 0 | 0
3570HxJ | Pipe Bursting of Ex. 6" WW Main with 8" Main | LF | 1530 | 0 | 0
3570JxJ | Pipe Bursting of Ex. 8" WW Main with 8" Main | LF | 170 | 0 | 0
5020 | Iron Fittings | TON | 13 | 0 | 0
5050 | Water Service | EA | 490 | 0 | 0
5066FxF | 4" Closed Fireline Service w/ 4" D.C. Device | EA | 1 | 0 | 0
5066HxH | 6" Closed Fireline Service w/ 6" D.C. Device | EA | 1 | 0 | 0
5066JxJ | 8" Closed Fireline Service w/ 8" D.C. Device | EA | 1 | 0 | 0
5091 | Install Fire Hydrant | EA | 24 | 0 | 0
5092 | Remove Existing Fire Hydrant | EA | 22 | 0 | 0
5093 | Deliver Fire Hydrant | EA | 21 | 0 | 0
5100F | 4" Gate Valve | EA | 1 | 0 | 0
5100H | 6" Gate Valve | EA | 38 | 0 | 0
5100J | 8" Gate Valve | EA | 68 | 0 | 0
5100L | 12" Gate Valve | EA | 33 | 0 | 0
5100V | 24" Gate Valve | EA | 2 | 0 | 0
5110LxL | 12"x12" Tapping Sleeve | EA | 1 | 0 | 0
5110VxJ | 24"X8" Tapping Sleeve | EA | 1 | 0 | 0
5120Q | Remove Salvage and Deliver 16"Valve | EA | 2 | 0 | 0
5500J | 8" Water Main (BOTOC) | LF | 146 | 0 | 0
5500L | 12" Water Main (BOTOC) | LF | 18 | 0 | 0
5550J | 8" Water Main Crossing (BOTOC) | LF | 180 | 0 | 0
5560J | 8" Water Main Crossing (By Open Cut) | LF | 180 | 0 | 0
5560S | 20" Water Main Crossing (By Open Cut) | LF | 10 | 0 | 0
5600 | Cut and Plug Existing Water Main | EA | 70 | 0 | 0
5610 | Cut and Plug Water Main for Test | EA | 10 | 0 | 0
5650 | Removal of 30"x16" Tee & 16" Plugs | EA | 2 | 0 | 0
5750B | 1" Flush Point | EA | 1 | 0 | 0
5755D | Automatic Flusher with WW Lateral Connection | EA | 1 | 0 | 0
5770J | Standard 8" Water Main Lowering | EA | 2 | 0 | 0
5990J | 8" Wastewater Main (BOTOC) | LF | 20 | 0 | 0
6050R | 18" Wastewater Main Crossing (BOTOC) | LF | 10 | 0 | 0
6060 | Wastewater Lateral | EA | 410 | 0 | 0
6061 | Wastewater Lateral w/ Cleanout | EA | 70 | 0 | 0
6080 | Standard Mainline Cleanout | EA | 1 | 0 | 0
6100 | Wastewater Access Device | EA | 20 | 0 | 0
6110AE | 48" Dia. Drop Manhole | EA | 4 | 0 | 0
6110AG | 60" Dia. Drop Manhole | EA | 10 | 0 | 0
6111AJX | 72" Dia. Drop Manhole- Extra Depth | EA | 1 | 0 | 0
6120AE | 48" Pressure Type Manhole | EA | 7 | 0 | 0
6130AE | 48" Diameter Wastewater Manhole | EA | 64 | 0 | 0
6130AG | 60" Diameter Wastewater Manhole | EA | 16 | 0 | 0
6130AJ | 72" Diameter Wastewater Manhole | EA | 1 | 0 | 0
6140 | Abandon Existing Manhole | EA | 2 | 0 | 0
6141 | Vacuum Test for Wastewater Manhole | EA | 102 | 0 | 0
6142 | Drop Connection to Existing Manhole | EA | 1 | 0 | 0
6150AE | 48" Manhole Rehab | EA | 1 | 0 | 0
6270 | Fence Replacement | EA | 500 | 0 | 0
6800 | Project Partnering | LS | 1 | 0 | 0
6902 | Placement of Block Sodding | SY | 3000 | 0 | 0
6920 | Television Inpection | LF | 26300 | 0 | 0
6925 | Trench Safety & Support | LF | 35010 | 0 | 0
7030 | Rock Foundation | CY | 620 | 0 | 0
7040 | Stabilized Backfill | CY | 410 | 0 | 0
7041 | Flowable Backfill | CY | 800 | 0 | 0
7044 | Four "F" Flowable Base - High Strength & Fast Set | CY | 1000 | 0 | 0
7050 | Sand Backfill | CY | 620 | 0 | 0
7053 | Cement Stabilized Sand Backfill | CY | 100 | 0 | 0
7071 | Class B Concrete | CY | 160 | 0 | 0
7520 | Temporary Paving (Hot or High Performance Mix) | TON | 1941 | 0 | 0
7525 | Flex Base (Crushed Rock) Alley Surface | CY | 1200 | 0 | 0
7530 | Concrete Curb and/or Gutter | LF | 300 | 0 | 0
7560 | Crushed Rock for Paving Repair (Ditch Line-Temporary Base) | CY | 2650 | 0 | 0
7570 | Reinforced Concrete Paving | CY | 4000 | 0 | 0
7575 | Type 3K-2 Reinforced Concrete Paving | CY | 500 | 0 | 0
7580 | Reinforced Concrete Sidewalk | SY | 1000 | 0 | 0
7583 | Reinforced Concrete Driveway | SY | 1000 | 0 | 0
7584 | Slurry Seal Surface Treatment | SY | 100 | 0 | 0
7585 | Barrier Free Ramp | EA | 5 | 0 | 0
7590 | Reinforced Concrete Alley Approach | CY | 1000 | 0 | 0
7600 | Reinforced Concrete Base | CY | 6555 | 0 | 0
7655 | Hot-Mix Asphalt Concrete Pavement | TON | 3900 | 0 | 0
7712 | Stormwater Pollution Prevention Plan | LS | 1 | 0 | 0
7713 | Erosion Control | LS | 1 | 0 | 0
7730 | Disposal of Heavily Chlorinated Water | LS | 1 | 0 | 0
8011 | Construction Surveying And Staking of Prop. Water & WW Mains | LF | 37190 | 0 | 0
8012 | Construction Surveying And Staking of Prop. Streets and Alley Paving | LF | 24670 | 0 | 0
20500 | Investigation | EA | 30 | 0 | 0
| SCHEDULE A: TOTAL AMOUNT OF BID |  |  |  | 0
SCHEDULE B: INSTALLATION OF 24 INCH WASTEWATER MAIN
BID ITEM | ITEM DESCRIPTION | UNIT | QUANITY | Unit Price | Total Amount | Dollars and Cents (In Words)
3100J | 8" PVC Pressure Rated Wastewater Pipe | LF | 61 | 0 | 0
3120V | 24" PVC Pressure Rated Wastewater Pipe | LF | 5974 | 0 | 0
3560 | Connection to Existing Manhole | EA | 1 | 0 | 0
3700VX | 24" Extra Depth Wastewater Pipe | LF | 200 | 0 | 0
5990V | Install 24" Wastewater Pipe BOTOC | LF | 5579 | 0 | 0
6060 | Wastewater Lateral | EA | 5 | 0 | 0
6100 | Wastewater Access Device | EA | 2 | 0 | 0
6110AG | 60" Wastewater Drop Manhole | EA | 7 | 0 | 0
6111AJX | 72" Drop Connection Manhole - Extra Depth | EA | 1 | 0 | 0
6130AE | 48" Diameter Wastewater Manhole | EA | 4 | 0 | 0
6130AG | 60" Diameter Wastewater Manhole | EA | 12 | 0 | 0
6141 | Vacuum Test Wastewater Manhole | EA | 24 | 0 | 0
6902 | Place Block Sod | SY | 500 | 0 | 0
6920 | Television Inspection | LF | 5974 | 0 | 0
7030 | Rock Foundation | CY | 50 | 0 | 0
7044 | Four "F" Flowable Base (Hi Strength - Fast Set) | CY | 100 | 0 | 0
7050 | Sand Backfill | CY | 100 | 0 | 0
7520 | Temporary Paving (Hot Mix or High Performance) | TN | 500 | 0 | 0
7530 | Concrete Curb and/or Gutter | LF | 2000 | 0 | 0
7560 | Crushed Rock For Paving Base | CY | 300 | 0 | 0
7570 | Reinforced Concrete Paving | CY | 2000 | 0 | 0
7575 | Type 3K-2 Reinforced Concrete Paving | CY | 500 | 0 | 0
7580 | Reinforced Concrete Sidewalk | SY | 1000 | 0 | 0
7583 | Reinforced Concrete Driveway | SY | 1000 | 0 | 0
7585 | Barrier Free Ramp | EA | 5 | 0 | 0
7712 | Stormwater Pollution Control Plan | LS | 1 | 0 | 0
8011 | Construction/Survey Staking Wtr. & W.W. Mains | LF | 6035 | 0 | 0
20500 | Investigation | EA | 10 | 0 | 0
| SCHEDULE B: TOTAL AMOUNT OF BID |  |  |  | 0
| SCHEDULE A & B: TOTAL AMOUNT OF BID |  |  |  | 0