## Sheet1
DALLAS WATER UTILITIES
WATER AND WASTEWATER MAIN REPLACEMENTs AT VARIOUS LOCATIONS
CONTRACT NO. 21-233/ 21-234
TIME OF COMPLETION AS PER SPECIAL PROVISION S-6
BIDDER'S PROPOSAL FORM SUBMITTALS:
1 | Bidder to complete yellow cells.
2 | Upload completed Proposal to Bonfire in Project Folder.
CONTRACTOR'S NAME (Below)
BID ITEM | ITEM DESCRIPTION | UNIT | QUANITY | Unit Price | Total Amount | Dollars and Cents (In Words)
1500F | 4" Ductile Iron Water Pipe | LF | 160 | 0 | 0
1500H | 6" Ductile Iron Water Pipe | LF | 350 | 0 | 0
1500J | 8" Ductile Iron Water Pipe | LF | 510 | 0 | 0
1500L | 12" Ductile Iron Water Pipe | LF | 6970 | 0 | 0
1500Q | 16" Ductile Iron Water Pipe | LF | 1100 | 0 | 0
1500V | 24" Ductile Iron Water Pipe | LF | 2150 | 0 | 0
1800H | 6" PVC Water Pipe | LF | 40 | 0 | 0
3110J | 8" PVC Pressure Rated Wastewater Pipe | LF | 3860 | 0 | 0
3110K | 10" PVC Pressure Rated Wastewater Pipe | LF | 870 | 0 | 0
3110L | 12" PVC Pressure Rated Wastewater Pipe | LF | 1220 | 0 | 0
3120Q | 16" PVC Pressure Rated Wastewater Pipe | LF | 360 | 0 | 0
3120Y | 30" PVC Pressure Rated Wastewater Pipe | LF | 4340 | 0 | 0
3560 | Connection to Existing Manhole | EA | 2 | 0 | 0
5020 | Cast Iron Fittings | TN | 35 | 0 | 0
5050 | Water Service | EA | 71 | 0 | 0
5061FxF | 4" Domestic Service with 4" Meter and Transfer | EA | 1 | 0 | 0
5062HxH | 6" Closed Fireline with 6" Detector Check | EA | 1 | 0 | 0
5064JxJ | 8" Combined Service with 8" Meter | EA | 1 | 0 | 0
5066JxJ | 8" Closed Fireline Service with 8" D.C. Service | EA | 6 | 0 | 0
5091 | Install Fire Hydrant | EA | 11 | 0 | 0
5092 | Remove Existing Fire Hydrant | EA | 10 | 0 | 0
5093 | Deliver Fire Hydrant | EA | 10 | 0 | 0
5094 | Relocate Fire Hydrant | EA | 1 | 0 | 0
5100F | 4" Gate Valve | EA | 4 | 0 | 0
5100H | 6" Gate Valve | EA | 14 | 0 | 0
5100J | 8" Gate Valve | EA | 22 | 0 | 0
5100L | 12" Gate Valve | EA | 48 | 0 | 0
5100Q | 16" Gate Valve | EA | 2 | 0 | 0
5100V | 24" Gate Valve | EA | 17 | 0 | 0
5110QxL | 16 X 12" Tapping Sleeve | EA | 1 | 0 | 0
5140 | 6" Flap Valve | EA | 1 | 0 | 0
5155AJ | 72" Access Manhole with Blowoff | EA | 1 | 0 | 0
5500L | 12" Water Main (BOTOC) | LF | 20 | 0 | 0
5500V | 24" Water Main (BOTOC) | LF | 40 | 0 | 0
5600 | Cut & Plug Existing Water Main | EA | 16 | 0 | 0
5610 | Cut & Plug Existing Water Main For Test | EA | 15 | 0 | 0
5990J | 8" Wastewater Main (BOTOC) | LF | 130 | 0 | 0
5990AE | 48" Wastewater Main (BOTOC) | LF | 4210 | 0 | 0
6060 | Wastewater Lateral | EA | 66 | 0 | 0
6100 | Wastewater Access Device | EA | 8 | 0 | 0
6110AE | 48" Drop Manhole | EA | 5 | 0 | 0
6110AG | 60" Drop Manhole | EA | 1 | 0 | 0
6111AN X | 96" Diameter Drop Connection Manhole-Extra Depth (+20') | EA | 1 | 0 | 0
6130AE | 48" Diameter Wastewater Manhole | EA | 35 | 0 | 0
6130AJ | 72" Diameter Wastewater Manhole | EA | 4 | 0 | 0
6131AJ X | 72" Diameter Wastewater Manhole-Extra Depth (+20') | EA | 6 | 0 | 0
6141 | Vacuum Test Wastewater Manhole | EA | 54 | 0 | 0
6800 | Project Partnering | LS | 1 | 0 | 0
6902 | Place Block Sod | SY | 742 | 0 | 0
6909 | Place Brick Sidewalk | SY | 56 | 0 | 0
6920 | Television Inspection | LF | 17030 | 0 | 0
6925 | Trench Safety & Support | LF | 18980 | 0 | 0
7030 | Rock Foundation | CY | 686 | 0 | 0
7041 | Flowable Backfill | CY | 966 | 0 | 0
7050 | Sand Backfill | CY | 574 | 0 | 0
7071 | Class B Concrete | CY | 211 | 0 | 0
7520 | Temporary Paving (Hot Mix or High Performance) | TN | 420 | 0 | 0
7530 | Concrete Curb & Gutter | LF | 3220 | 0 | 0
7570 | Reinforced Concrete Paving | CY | 700 | 0 | 0
7580 | Reinforced Concrete Sidewalk | SY | 1582 | 0 | 0
7583 | Reinforced Concrete Driveway | SY | 70 | 0 | 0
7585 | Barrier Free Ramp | EA | 1 | 0 | 0
7600 | Reinforced Concrete Base | CY | 6762 | 0 | 0
7655 | Hot Mix Asphalt Concrete Paving | TN | 3318 | 0 | 0
7712 | Stormwater Pollution Control Plan | LS | 1 | 0 | 0
7730 | Disposal Of Heavily Chlorinated Water | LS | 1 | 0 | 0
8011 | Construction/Survey Staking Wtr. & W.W. Mains | LF | 18010 | 0 | 0
8012 | Construction Surveying and Staking of Proposed Street and Alley Paving | LF | 5240 | 0 | 0
8300 | Removal of Existing Railroad Tracks | EA | 3270 | 0 | 0
20500 | Investigation | EA | 103 | 0 | 0
| TOTAL AMOUNT OF BID |  |  |  | 0
TOTAL AMOUNT OF BID IN WORDS